2021 | Portugal | The minimum number of samples/year set for small countries, establish in the European Standard EN 14274 is 300 samples.Given the lower quantities of petrol I.O. 98 sold, and according with the European Standard EN 14274, the minimum number for this product was reduced from 100/year to 8, being the total number of analyzes/year reduced to 208. The National Entity for Energy Sector (ENSE) is responsible for the execution of the Fuel Quality Monitoring System (FQMS).According to the information provided by that entity, the samples total number for the 2021 FQMS was fulfilled. The present report includes a total of 524 samples collected at filling stations (369 in summer and 155 in winter). Samples collected in intermediate periods of April and October are not considered in the FQMS.Exceeded tolerance limits constitute an infraction punishable by fine, which involves reporting to the responsible authority for prosecution.
2021 | Romania | Romania monitors all parameters and considers the tolerance limits from the standards applying to each method. From 2019, we added a mass balance that links the introducing of B0 on the market, with compensatory actions during the non-winter period. During the 2021 sampling activity, there was an exceedance of parameter limit of density regarding one sample of diesel (summer period) and for other sample of diesel (winter period) there was an exceedance of paramter density. There were exceedances of vapour pressure that are authorized during the summer period, provided that the ethanol used is a biofuel.
2021 | Slovakia | Besides the required analyses, the density of each petrol sample had been determined. This data was used for recalculation of the sold litres to tonnes of each petrol grade.
2021 | Slovenia | Three samples of diesel fuel, which were taken in winter, exceeded the limit values. In one sample, the sulfur content was measured at 12 mg/kg (limit value: 10 mg/kg). In two samples, the FAME content was measured at 8.8% and 12.4% (limit value: 7%). We reported these measurements to the Inspectorate of the Republic of Slovenia for the Environment and Spatial Planning.
2021 | Spain | The EFQMS has been run during 2021 according EN-14274 standard in the category of big country model A. Samples have been taken in service stations, storage facilities and refineries in order to reach sample number required in model A. "Gasolina 98" grade is les that 10% of the total petrol sales and, consequently, less samples have been taken.Number of samples out of specification limits has been low with no negative trend in quality regarding previous years.
2021 | Sweden | The Swedish alternative system combines compilation of fuel quality data at the terminals with the sampling of petrol and diesel at actual refuelling stations. The latter is to guarantee the national monitoring systems equivalence to the CEN system. The reported data at the terminals, that includes all batches produced in Sweden and all import batches for the Swedish market, represents more than 98% of the sales of petrol and diesel in Sweden. The Swedish alternative system is described in detail under “Sampling” in the “Detailed FQMS” sheet. Drivkraft Sverige (The former Swedish Petroleum and Biofuel Institute) compiles the fuel quality data at the terminals on behalf of The Swedish Transport Agency that verifies the data, of this annual Fuel Quality Monitoring Report, before submitting it to the Reportnet Central Data Repository (CDR). The Swedish Transport Agency did not find any exceedances of the limit values at terminals in 2021. The data from the terminals also showed good equivalency for both petrol and diesel with the samples from the actual refuelling stations (crosschecking) in 2021.
2022 | Austria | There were neither additional parameters measured nor any excluded. In total 2 parameter of petrol samples exceeded the tolerance limits (DVPE: 61,570 and 61,380 in „Super“).
2022 | Belgium | The ministerial ruling of January 24th 2002 approving the internal regulations of the Management Committee of the Petroleum Products Analysis Fund describes the operation of the Fapetro Fund. Detailled information about our EN ISO 17020 accredited organisation can be provided on demand.
2022 | Bulgaria | 1. In 2022 were taken and tested 237 samples for the purposes of FQMS including 125 samples of petrol (RON 95 and RON>=98) and 112 samples of diesel fuel. The number of taken samples was proportionate to the consumption by regions. Samples taken for the purposes of FQMS were tested only in a permanently sited laboratory.In 2022 the consumption of petrol RON>=98 was 5,72% of the total amount of petrol on the market.The marketed fuels were mainly produced by one Bulgarian refinery. One part was imported from abroad.2. Besides parameters, referred to in the Directive and in the Report Tables, most samples were tested also for other parameters like: Density and Distillation characteristics – evaporated at 70 ⁰C, Final boiling point and Distillation residue, for petrol; Flash point and Cold Filter plugging point for diesel fuel.3. For any established non-compliance were taken enforcement actions, according to the Clean Ambient Air Act, The Law of Renewable Energy Sources, as well as the Regulation on the liquid fuels quality requirements, conditions, order and way of their control.When establishing nonconformities, control bodyies prohibit placing on the market, distribution, transportation or use of liquid fuels and order liquid fuels to be withdrawn from the market.The deviations from the quality requirements by the parameters given in “Methods&Limits” in the present Report, for samples taken for the purposes of FQMS, as well as the imposed sanctions for these infringements, are described in Tables “Petrol (2)”, “Petrol (1+2)”, “Diesel (2)” and “Diesel (1+2)”.In one of the petrol samples taken for the purposes of FQMS was established non-compliance with the quality requirements by the parameter “Distillation characteristics – Final boiling point”. The sample was tested in the accredited permanently sited laboratory of Directorate General “Quality Control of liquid fuels” (DG QCLF), in accordance with BDS EN ISO 3405:2019. The limit value of this parameter is max 210 °C, R=6,78 (for result below 260 °C), the expanded limit value is max 214 °C. The deviation was 218,1 °C . For this nonconformity was imposed pecuniary sanction of 10 000 leva (BGN).In five of the diesel fuel samples taken for the purposes of FQMS was established non-compliance with the quality requirements by the parameter “Flash point”. The samples were tested in the accredited stationary laboratory of DG QCLF, in accordance with BDS EN ISO 2719:2016. The limit value of this parameter is over 55 °C, R=3,7, the expanded limit value is over 52,8 °C. The deviations were within the range from 40,5 °C to 51,5 °C. For each nonconformity was imposed pecuniary sanction of 10 000 leva (BGN). In one of the disel fuel samples taken for the purposes of FQMS was established non-compliance with the quality requirements by the parameter “ Cold Filter plugging point ”. The sample was tested in the accredited permanently sited laboratory of Directorate General “Quality Control of liquid fuels” (DG QCLF), in accordance with BDS EN 116:2015, BDS EN 116:2015/Revision1:2018. The limit value of this parameter is max -15°C, R=3,76, the expanded limit value is max -12,78°C. The deviation was -9°C . For this nonconformity was imposed pecuniary sanction of 10 000 leva (BGN).4. The samples of liquid fuels taken for the purposes of FQMS were tested for all mandatory parameters.5. There are no regions in the country not to be covered by the monitoring program.
2022 | Croatia | In 2022 were taken and tested 414 samples for the purposes of FQMS including 207 samples of petrol (RON 95 - 196 samples and RON 100 - 11 samples) and 207 samples of diesel fuel. According to the national legislation which transposed the Fuel Quality Directive, the distributors are penalized in case of any exceedance of prescribed fuel quality. Enforcement is under responsibility of Market Inspection (State Inspectorate, Republic of Croatia). Penalties are included in the Air Protection Law (OG No. 127/19, 57/22).According to the national legislation which transposed the FQM Directive, the distributors are penalized in the case for not submitting data to the National database established by Ministry of Economy and Sustainable Development. Enforcement is under responsibility of Environmental Inspection (State Inspectorate, Republic of Croatia). Penalties are included in the Air Protection Law (OG No. 127/19, 57/22).
2022 | Cyprus | 1. Some parameters for diesel and petrol that are not required to be reported, have also been measured. For example, water content, distillation at 250 and 350 °C, CFPP point and cetane index are also measured in diesel samples. Furthermore, parameters like distillation at 70 °C, FBP and residue are measured for many petrol samples. Vapour Pressure is also measured for winter period (max 80kPa) but is not included in this report as it is not required.2. Unleaded Petrol 100 octane fuel grade was marketed in Cyprus in 2022 in very low quantities and min sample requirement is less 2 sample. Also, Unleaded Petrol 98 octane fuel grade had small share in Cyprus market and the calculated minimum sample requirement is 9. 3. Summer period is from 16/4-15/10 and winter period is from 16/10-15/4. Transition period from summer to winter and vice versa is set to 6 weeks. Some of the vapour pressure measurements "appear to be out of specifications" according to this template because the measurements of these samples were within the transition period. 4. No out of specs samples were found.
2022 | Czech Republic | The process control of the fuel monitoring quality is coordinated by the Ministry of Industry and Trade of the Czech Republic in accordance with the national legislation and Directive 98/70/EC as amended in the specification for petrol and diesel fuels, which were sold on the Czech fuel market in 2022. The fuel quality monitoring has been conducted in accordance with FQMS of the European standard EN 14274:2013 and its national Czech version ČSN EN 14274:2013 with the use of regional model C, in consistent with the Czech national legislation and Czech standards for petrol (ČSN EN 228:2018) and diesel (ČSN EN 590:2022). The total number of the fuel quality samples by the Directive 98/70/EC has been checked in 2262 samples. It means 1000 samples of petrol and 1204 samples of diesel, plus 7 samples of artic clima in winter time, or similar winter conditions, it means 1211 samples of diesel, in sum. The total number of the basic fuel quality samples has been checked in 2211 samples. The number of alternative fuel samples included 301 samples of LPG and 40 samples of CNG. The total number of fuel samples was checked in 2552 control samples at the service stations in the whole country. It means with the sum of all additional required fuels of 341 samples (LPG and CNG).
2022 | Denmark | In 2022 all samples (petrol and diesel) are taken at service stations.All samples are in complience with the limits in the directive, except 7 samples which are outside the 95 % tolerance limit for aromatics and one sampel which is outside the 95 % tolerance limit for RVP.Numbers of samples taken in 2021: RON 92: 2 samplesRON 95: 100 samplesRON 98+: 10 samplesDiesel: 100 samples.Denmark has been granted Artic Waiver. The mean ethanol content in petrol-samples (RON 92, RON 95 and RON 98+) was 9,67 %, 9,69 % and 4,55 %. The mean FAME-content in diesel was 5,87 %.
2022 | Estonia | Estonian Environmental Research Centre (EERC, http://www.klab.ee/en, Contact person: Liisi Lapp, liisi.lapp@klab.ee) is managing the FQMS and reporting the results. The monitoring followed the European Standard EN 14274. Sampling was done by the European standard EN 14275. Analyses were done in the fuel laboratory of EERC and all applied methods have been accredited.
2022 | Finland | Sampling was done in the whole country according to the sampling plan following the guidelines of a standard EN 14274:2013 model A. Country was divided to 3 macro-regions with about same sales volume and variability factor. Fuel grades investigated were unleaded RON 95 E10 and RON 98 E5 sulphur free (max. 10 mg/kg) petrol and sulphur free (max. 10 mg/kg) diesel fuel. These fuels were furthermore divided into summer and winter grade. Since the sales volume for RON 99 octane petrol was small (less than 2 %) it was excluded from the actual sampling. In addition, there was no quality under RON 95 octane on the market. All samples were taken at retail sites. Breaches of tolerance limit: Petrol 98 E5 (summer grade): One vapour pressure value 71,1 kPa is above the maximum limit value 70,0 kPa and the maximum tolerance limit value 70,9 kPa (Tolerance limit value 0,9 kPa is based on 0,59 x R value of standard EN 13016-1:2018). According to the agent small volume of winter grade was mixed with summer grade. New sample was also taken from same station on later summer period and result value 67,9 kPa is below the maximum limit value 70,0 kPa, so special enforcement actions were not deemed necessary.Petrol 98 E5 (summer grade): One ethanol value 5,4 % v/v is above the maximum limit value 5,0 % v/v and maximum tolerance limit value 5,2 % v/v (Tolerance limit value 0,2 % v/v is based on 0,59 x R value of standard EN ISO 22854:2021). Because value is below the maximum limit value 10,0 % v/v of Finnish fuel quality regulation 883/2022, special enforcement actions were not deemed necessary. Petrol 98 E5 (summer grade): One RON value 97,5 is below the minimum limit value 98,0 and the minimum tolerance limit value 97,6 (Tolerance limit value 0,4 is based on 0,59 x R value of standard EN ISO 5164:2014). Because value is above the minimum limit value 95,0 of Finnish fuel quality regulation 883/2022, special enforcement actions were not deemed necessary. Petrol 98 E5 (winter grade): One ethanol value 5,4 % v/v is above the maximum limit value 5,0 % v/v and maximum tolerance limit value 5,2 % v/v (Tolerance limit value 0,2 % v/v is based on 0,59 x R value of standard EN ISO 22854:2021). Because value is under the maximum limit value 10,0 % v/v of Finnish fuel quality regulation 883/2022, special enforcement actions were not deemed necessary. Observed concentrations between the limit values and the tolerance limits: Petrol 95 E10 (summer grade): Ten aromatics values (35,1, 2 x 35,2, 35,3, 2 x 35,4, 2 X 35,6, 35,7 and 36,0 % v/v) are above the maximum limit value 35,0 % v/v but within the maximum tolerance limit value 36,0 % v/v (Tolerance limit value 1,0 % v/v is based on 0,59 x R value of standard EN ISO 22854:2021)Petrol 95 E10 (summer grade): Three RON values (94,6, 94,8 and 94,9) are below the minimum limit value 95,0 but within the minimum tolerance limit value 94,6 (Tolerance limit value 0,4 is based on 0,59 x R value of standard EN ISO 5164:2014) Petrol 95 E10 (summer grade): Two MON values (84,7 and 84,8) are below the minimum limit value 85,0 but within the minimum tolerance limit value 84,5 (Tolerance limit value 0,5 is based on 0,59 x R value of standard EN ISO 5163:2014) Petrol 95 E10 (winter grade): Two aromatics values (35,2 and 35,5 % v/v) are above the maximum limit value 35,0 % v/v but within the maximum tolerance limit value 36,0 % v/v (Tolerance limit value 1,0 % v/v is based on 0,59 x R value of standard EN ISO 22854:2021)Petrol 95 E10 (winter grade): One RON value 94,9 is below the minimum limit value 95,0 but within the minimum tolerance limit value 94,6 (Tolerance limit value 0,4 is based on 0,59 x R value of standard EN ISO 5164:2014) Petrol 98 E5 (summer grade): Seven RON values (97,7 and 5 x 97,8) are below the minimum limit value 98,0 but within the minimum tolerance limit value 97,6 (Tolerance limit value 0,4 is based on 0,59 x R value of standard EN ISO 5164:2014)Petrol 98 E5 (summer grade): Three aromatics values (35,3 and 2 x 35,5 % v/v) are above the maximum limit value 35,0 % v/v but within the maximum tolerance limit value 36,0 % v/v (Tolerance limit value 1,0 % v/v is based on 0,59 x R value of standard EN ISO 22854:2021)Petrol 98 E5 (summer grade): One oxygen value 2,8 % m/m is above the maximum limit value 2,7 % m/m but within the maximum tolerance limit 2,8 % m/m (Tolerance limit value 0,1 % m/m is based on 0,59 x R value of standard EN ISO 22854:2021)Petrol 98 E5 (summer grade): One ethanol value 5,2 % v/v is above the maximum limit value 5,0 % v/v but within the maximum tolerance limit value 5,2 % v/v (Tolerance limit value 0,2 % v/v is based on 0,59 x R value of standard EN ISO 22854:2021). Petrol 98 E5 (summer grade): One vapour pressure value 70,9 kPa is above the maximum limit value 70,0 kPa but within the maximum tolerance limit value 70,9 kPa (Tolerance limit value 0,9 kPa is based on 0,59 x R value of standard EN 13016-1:2018).Petrol 98 E5 (winter grade). One aromatics value 35,6 % v/v is above the maximum limit value 35,0 % v/v but within the maximum tolerance limit 36,0 % v/v (Tolerance limit value 1,0 % v/v is based on 0,59 x R value of standard EN ISO 22854:2021).Petrol 98 E5 (winter grade): Thirteen oxygen values (13 x 2,8 % m/m) are above the maximum limit value 2,7 % m/m but within the maximum tolerance limit value 2,8 % m/m (Tolerance limit value 0,1 % m/m is based on 0,59 x R value of standard EN ISO 22854:2021)Petrol 98 E5 (winter grade): Ten ethanol values (9 x 5,1 % v/v and 5,2 % v/v) are above the maximum limit value 5,0 % v/v but within the maximum tolerance limit value 5,2 % v/v (Tolerance limit value 0,2 % v/v is based on 0,59 x R value of standard EN ISO 22854:2021)Petrol 98 E5 (winter grade): Four RON values 97,7, 97,8 and 2 x 97,9) are below the minimum limit value 98,0 but within the minimum tolerance limit value 97,6 (Tolerance limit value 0,4 is based on 0,59 x R value of standard EN ISO 5164:2014).Diesel (summer grade). One FAME value 7,1 % v/v is above the maximum limit value 7,0 % v/v but within the maximum tolerance limit value 7,3 % v/v (Tolerance limit value 0,3 % v/v is based on 0,59 x R value of standard EN 14078:2014).
2022 | Germany | In the sampling periods of 2022 a total of 1258 samples were taken (859 petrol, 399 diesel). While the overall number of diesel and petrol fuel samples meets the requirements of large countries (L, 200), the number of samples is too low in the winter period for Super E5 and Super E10 petrol fuels and diesel, mainly due to three federal states being short (see below) compared to its minimum required number of samples.The federal state "Brandenburg" refuses to sample in both periods (winter and summer) each year. Instead, only one period is alternatingly sampled with twice the minimum required number of samples. In 2022, these samples were taken in the summer period, consequently leading to missing samples in the winter period. The federals states „Mecklenburg-Vorpommern“ and “Bremen” did not submit any data for the winter period in 2022, but for the winter period in early 2023 which is not being considered in this reporting and thus, these samples are missing, too.Eleven non-compliant samples are reported when taking into account the limit tolerance of the methods. Six samples (one Super E5, four Super E10, one Super Plus E5) showed exceedances in the parameter Vapour Pressure (DVPE). Another three Super E10 samples exceeded the sulphur limit. Furthermore, three exceedances were detected in Diesel samples, one each for the parameters FAME, density and Distillation -- 95-%-Point, respectively. For details, see “Petrol” and “Diesel” sections of this template. Regarding the two fuels diesel (EN590) and petrol (EN228) all parameters of the corresponding standard are part of the German national FQMS. Until the 2022 reporting period there was a minimum set of fuel quality parameters defined which is much smaller. The German minimum parameter set does not yet cover the full set of parameters of the FQD. The requirements have been harmonized in the revision of the German General Administrative Regulation on Dec. 19th 2022.In case of exceeding the tolerance value on any of the parameters it must be determined who is responsible for the insufficient quality of the fuel in question. In most cases a fine will be imposed if the distributor can be proven guilty of fraud or negligence. In 2022, 0,76 Mio. tons of Super Plus (RON98) fuel were sold in Germany. This is a share of 4,48 % of its parent fuel grade petrol. For this reason the sampling of Super Plus comprises a smaller amount of samples.
2022 | Greece | The highest percentage of sales is held by diesel while unleaded petrol (RON > 95) follows. A slight decrease in the amount of sales for the super unleaded (RON>98) was observed accompanied by a slight increase in the total sales of unleaded petrol (RON > 95) when compared to year 2021.Three (3) fuel samples of super unleaded (RON>98) were found to exceed vapour pressure ranging from 65,6KPa to 66,2KPa. It was also observed in certain occasions that the FAME content in Diesel samples exceeded the limiting value of 7% V/V. However no further action was taken due to fact that the rest of the sample characteristics were within legal limits as well as the fact that the fuel dispensing pumps were labelled as Diesel B10. Overall, the level of compliance of all fuel samples was extremely high indicating that the fuel market was following the demands of the Directive.
2022 | Hungary
2022 | Ireland | Samples are taken by Fuels For Ireland (FFI - formerly known as the Irish Petroleum Industry Association (IPIA)) at service stations and are analysed by ITS Testing Services (UK) Ltd. Results are reported to the Department by Fuels For Ireland. 100 samples of both petrol and diesel were tested during the year. There were no exceedances detected.
2022 | Italy
2022 | Latvia | As a result of fuel quality monitoring in Latvia, it can be concluded that the fuel offered in the market complies with the quality requirements. Overall 220 fuel samples have been taken for fuel quality assessment, including 85 diesel fuel samples, and 135 petrol samples from service stations in all regions of Latvia. From 220 samples, 2 are non-compliant: 1 diesel and 1 petrol samples. The State Construction Control Bureau has informed the competent authority (the State Revenue Service) about the non-compliant fuel. As result, the State Revenue Service has launched administrative infringement processes resulting in financial penalties being imposed. All parameters are tested according to the “methods and Limits” sheet.
2022 | Lithuania | The State Consumer Rights Protection Authority checked 510 fuel (petrol, diesel, marin fuel and others) samples per 2022 year. 154 petrol samples were taken from which 103 petrol samples were for fuel quality monitoring system. According to the test results there were no non -compliance petrol samples. According to the results there were not found incompliance in diesel samples, taken for fuel quality monitoring system. National Specification permits higher Petrol Vapour pressure values, so checked values exceed the maximum permitted values in the Directive 2009/30/EC. 246 diesel samples were taken per 2022 year from which 100 samples were for fuel quality monitoring system. Attention should be paid that national specification permits higher the maximum diesel FAME content value in compare with the Directive 2009/30/EC. A-98(RON 98) petrol comprising <10% of total petrolium sales, so only a few samples (3 samples) were taken for quality assessment analysis. All A-98 (RON 98) petrol samples were sampled during the summer period and no samples were taken during the winter period.
2022 | Luxembourg | For summer period 4 samples of fuel grade 98 (DVPE: 61.4/61.5/65.7/65.8) exeeded the tolerance limits. An item of written command by the operating company is required.
2022 | Malta | A total number of two hundred and twelve (212) fuel samples were analysed in year 2022 consisting of one hundred and three (103) diesel samples, one hundred and three (103) unleaded petrol minimum RON 95 samples, and six (6) unleaded petrol minimum RON 98 samples. Unleaded petrol minimum RON 98 makes less than 10% market share of the parent grade and hence fewer samples are required. No exceedances were observed in all the unleaded petrol samples (minimum RON 95 and minimum RON 98 samples) and hence the unleaded petrol was within the SM EN 228 quality standard. The majority of the diesel samples were found to be within the EN 590 specifications except for the exceedance of one (1) sulfur content. The enforcement action for this exceedance is explained in detail in worksheets diesel (2) and diesel (1+2).
2022 | Netherlands | This year, out of the 97 unleaded Petrol samples and 97 diesel samples taken, none of the samples exceeded the tolerance limit.
2022 | Poland | W 2022 roku w zakresie analitycznym niniejszego raportu nie odnotowano żadnej próbki oleju napędowego, która niespełniałaby dopuszczalnych norm ujętych w raporcie parametrów. Odnośnie badań prób benzyn odnotowano jedną próbę niezgodną z wymaganiami. Dla benzyny RON 98 z przekroczono dopuszczalną wartością parametru prężność par. Dla benzyny RON 95 nie odnotowano żadnej próbki, która niespełniałaby dopuszczalnych norm ujętych w raporcie parametrów. W przypadku negatywnego wyniku badań laboratoryjnych skierowano zawiadomienie do Prezesa Urzędu Regulacji Energetyki oraz Prokuratury.
2022 | Portugal | The minimum number of samples/year set for small countries, establish in the European Standard EN 14274 is 300 samples.Given the lower quantities of petrol I.O. 98 sold, and according with the European Standard EN 14274, the minimum number for this product was reduced from 100/year to 8, being the total number of analyzes/year reduced to 208. The National Entity for Energy Sector (ENSE) is responsible for the execution of the Fuel Quality Monitoring System (FQMS).According to the information provided by that entity, the samples total number for the 2022 FQMS was fulfilled. The present report includes a total of 291 samples collected at filling stations (113 in summer and 178 in winter). Samples collected in intermediate periods of April and October are not considered in the FQMS.Exceeded tolerance limits constitute an infraction punishable by fine, which involves reporting to the responsible authority for prosecution.
2022 | Romania | Romania monitors all parameters and considers the tolerance limits from the standards applying to each method. From 2019, we added a mass balance that links the introducing of B0 on the market, with compensatory actions during the non-winter period. During the 2022 sampling activity, there was an exceedance of parameter limit of density regarding one sample of diesel (summer period) and for other sample of diesel (winter period) there was an exceedance of paramter density. There were exceedances of vapour pressure that are authorized during the summer period, provided that the ethanol used is a biofuel.
2022 | Slovakia | Besides the required analyses, the density of each petrol sample had been determined. This data was used for recalculation of the sold litres to tonnes of each petrol grade.
2022 | Slovenia | One sample of diesel fuel, which was taken in winter, exceeded the limit values. The FAME content was measured at 9.3%. It was reported to the Environment and Energy Inspectorate of the Republic of Slovenia.
2022 | Spain | The EFQMS has been run during 2022 according EN-14274 standard in the category of big country model A. Samples have been taken in service stations, storage facilities and refineries in order to reach sample number required in model A. "Gasolina 98" grade is les that 10% of the total petrol sales and, consequently, less samples have been taken.Number of samples out of specification limits has been low with no negative trend in quality regarding previous years.
2022 | Sweden | The Swedish alternative system combines compilation of fuel quality data at the terminals with the sampling of petrol and diesel at actual refuelling stations. The latter is to guarantee the national monitoring systems equivalence to the CEN system. The reported data at the terminals, that includes all batches produced in Sweden and all import batches for the Swedish market, represents more than 98% of the sales of petrol and diesel in Sweden. The Swedish alternative system is described in detail under “Sampling” in the “Detailed FQMS” sheet. Drivkraft Sverige (The former Swedish Petroleum and Biofuel Institute) https://drivkraftsverige.se/ compiles the fuel quality data at the terminals on behalf of The Swedish Transport Agency that verifies the data, of this annual Fuel Quality Monitoring Report, before submitting it to the EIONET Central Data Repository (CDR). The Swedish Transport Agency did not find any exceedances of the limit values at terminals in 2022. The data from the terminals also showed good equivalency for both petrol and diesel with the samples from the actual refuelling stations (crosschecking) in 2022,